## Sheet1
LOADINGS OF POWER TRANSFORMERS FOR THE MONTH OF MAY 2021
Sr. No. | Name and configuration of Substation | No of Power Transformers and Capacity | Loading of Power Transformer(Amps)
|  |  | Peak | Off Peak
1 | 2 | 3 | 4 | 5
DIVISION-I,PANAJI
| 33/11KV Corlim Substation | 6.3 MVA | 30 | 19
|  | 6.3 MVA | 63 | 40
|  | 10 MVA | 138 | 118
| 33/11 KV Altinho sub-station | 6.3 MVA | 157 | 94
|  | 6.3 MVA | 203 | 150
|  | 8 MVA | 266 | 277
| 33/11 KV EDC sub-station | 10 MVA | 240 | 218
|  | 10 MVA | 214 | 165
| 33/11 KV Campal sub-station | 10 MVA | 288 | 244
|  | 20 MVA | 94 | 81
| 33/11 KV Bambolim s/s | 1 x 6.3 MVA | 100 | 62
|  | 1 x 10 MVA | 138 | 86
| 33/11 KV Pilar s/s | 1 x 6.3 MVA | 250 | 180
| Nagali Hill S/s 33/11KV | 10MVA | 127 | 77
| NIO S/S 33/11KV | 6.3 MVA | 88 | 51
DIVISION-III,PONDA
| 200/110/33 KV PONDA Sub - Station | 100 MVA I | 180 | 135
|  | 100 MVA II | 135 | 75
|  | 100 MVA III | 135 | 75
|  | 50 MVA | 228 | 186
|  | 40 MVA I | 150 | 120
|  | 40 MVA II | 162 | 126
|  | 30 MVA I | 120 | 90
|  | 30 MVA II (33/11 KV) | 85 | 45
|  | 6.3 MVA(33/11KV) | 60 | 35
DIVISION-IV,MARGAO
| 33/11KV Monte SS | TR-1, 6.3 MVA | 38 | 13
|  | TR-II, 6.3 MVA | 65 | 9
|  | TR-III,10MVA | 71 | 21
| 33/11KV Aquem SS | TR-I, 10 MVA | 66 | 74
|  | TR-II, 10 MVA | 100 | 98
|  | TR-III, 6.3MVA | 79 | 96
| 33/11KV Fatorda SS | TR-I, 6.3 MVA | 87 | 42
|  | TR-II, 6.3MVA | 67 | 53
|  | TR-III, 10MVA | 119 | 63
| 33/11KV Nessai SS | TR-I, 6.3MVA | 92.3 | 36
|  | TR-II, 6.3MVA | 62.3 | 33.3
| 33/11KV KRC SS | TR1, 10MVA | 149 | 73
| 33/11KV Raia SS | TR-I, 6.3MVA | 12 | 51
|  | TR-II, 6.3MVA | 27 | 100
DIVISION-V,BICHOLIM
| 33/11KV Bicholim Substation | TR-1, 6.3 MVA | 72 | 64
|  | TR-2, 6.3 MVA | 83 | 70
|  | TR-3, 6.3 MVA | 67 | 55
| 33/11 KV Sankhali Sub-Station | TR-1- 10 MVA | 143 | 139
| 33/11 KVPale Sub-Station | TR-1 - 6.3 MVA | 28 | 13
| 33/11KV Valpoi substation | TR-1, 6.3 MVA | 83 | 49
|  | TR-2, 6.3 MVA | 59 | 50
DIVISION-VI,MAPUSA
| 33/11 KV Mapusa Substation | Pr. Tr. I …..6.3 MVA | 102 | 93
|  | Pr. Tr. II…..10 MVA | 155 | 127
|  | Pr. Tr. III…..10 MVA | 151 | 122
|  | Pr. Tr. IV…..8 MVA | 113 | 96
| 33/11KV Porvorim Station | 1*6.3 MVA PTR-I | 101 | 73
|  | 1*6.3/8 MVA PTR-II | 132 | 90
|  | 2*10 MVA PTR-II | 146 | 128
| 1x6.3MVA, 1x 6.3/8 MVA, 1x10 MVA, Nagoa, Sub-Station | Transformer I, 6.3/8MVA | 54 | 42
|  | Transformer II, 6.3 MVA | 58 | 40
|  | Transformer III, 10 MVA | 88 | 64
| CANDOLIM SUBSTATION 33/11KV | 6.3MVA | 21 | 16
|  | 6.3/8MVA | 38 | 35
|  | 10MVA | 33 | 30
| SALIGAO SUBSTATION 33/11KV | 6.3MVA | 72 | 34
|  | 6.3MVA | 51 | 30
|  | 10MVA | 97 | 36
DIVISION-VII,CURCHOREM
| 2x10MVA 33/11kv Pontemol curchorem | Power Transformer 1-10MVA | 95 | 45
| 2x10MVA 33/11kv Pontemol curchorem | Power Transformer 2-10MVA | 90 | 40
| 33/11KV Quinamol substation | 1no (3.15MVA) | 75 | 55
| 33/11KV Xelpem Substation | 1 X 6.3MVA | 53 | 46
| 33/11KV Waddem Substation | 1 X 3.15MVA | 15 | 10
| 33/11KV Shigao Substation | 1 X 6.3 MVA | 25 | 19
DIVISION-IX,TIVIM
| TIVIM SUBSTATION 220/110/33/11 KV | 100 MVA Transformer I | 179 | 120
|  | 100 MVA Transformer II | 182 | 125
|  | 100 MVA Transformer III | 185 | 140
|  | 50 MVA Transformer I | 225 | 114
|  | 50 MVA Transformer II | 185 | 167
|  | 40 MVA Transformer III | 145 | 110
|  | 50 MVA Transformer IV | 219 | 133
|  | 10 MVA Transformer I | 98 | 60
|  | 10 MVA Transformer II | 105 | 64
| 220/33/11 KV Amona Substation | 220/33, 50 MVA Transformer I | 618 | 235
|  | 220/33, 50 MVA Transformer II | 591 | 360
|  | 33/11 KV, 6.3 MVA Transformer | 73 | 50
DIVISION-X,PONDA
| 33/11 KV Colony | 6.3 MVA TR-I | 82 | 33
| 33/11 KV Colony | 10 MVA TR- II | 111 | 62
| 11 KV Control room Curti Ponda Goa | 30MVA TR - I | 280 | 128
| 11 KV Control room Curti Ponda Goa | 6.3 TR - II | 178 | 50
| 33/11KV Dharbandora | 1x6.3MVA | 89 | 89.8
| 33/11KV Bethora | 1x6.3MVA | 71.1 | 63.6
| 33/11KV Shiroda | 1x6.3MVA | 62 | 44
| Kundai ss | 10MVA-I | 150 | 56
|  | 10MVA-II | 104 | 44
| Madkai ss | Transformer 6.3 MVA | 65 | 52
DIVISION-XI,VASCO
| 33/ 11 KV Harbour Sub-Station | Power transformer-I 6.3 MVA | 180 | 109
|  | Power transformer-II 6.3 MVA | 175 | 89
| 33/11KV Kadamba Sub - Station | Power transformer-I 6.3 MVA | 264 | 144
|  | Power transformer-II , 6.3 MVA | 231 | 108
|  | Power transformer-III 6.3 MVA | 174 | 87
| 33/11KV Sancoale Sub - Station | (6.3 MVA)PRT-1 | 56 | 40
|  | (6.3 MVA)PRT-2 | 80 | 44
|  | (6.3 MVA)PRT-3 | 30 | 27
|  | (6.3 MVA)PRT-4 | 48 | 35
| 33/11 KV,2X6.3 MVA, open switch yard with 02 Bus | Power transformer-I | 48 | 38
|  | Power transformer-II | 36 | 32
DIVISION-XII,XELDEM
| 220/110/33/11 kv Xeldem(EHV) Substation | 100 MVA Bharat Bijlee(220/110 kv) | 125 | 110
|  | 100 MVA CGL | 152 | 100
|  | 40 MVA I | 169 | 135
|  | 40 MVA II | 162 | 130
|  | 6.3 MVA | 95 | 64
DIVISION-XIII,KADAMBA
4X 40 MVA, 110/33 KV Kadamba Substation
|  | 40 MVA Transformer I | 149 | 45
|  | 40 MVA Transformer II | 166 | 41
|  | 40 MVA Transformer III | 150 | 85
|  | 40 MVA Transformer IV | 145 | 76
DIVISION-XIV,VERNA
| 33/11kv Majorda Substation | 1nos 10MVA | 68 | 51
|  | 1nos 6.3MVA | 60 | 47
| 110/33/11KV( EHV), Verna Substation | 110/33KV 50MVA | 219 | 156
|  | 110/33KV 40MVA-I | 150 | 99
|  | 110/33KV 40MVA-II | 168 | 86
|  | 33/11KV 10MVA-I | 84 | 14
|  | 33/11KV 10MVA-II | 44 | 24
|  | 33/11KV 8 MVA | 68 | 34
|  | 33/11KV 6.3MVA | 60 | 32
DIVISION-XVI,MARGAO
| Benaulim Sub Station | 6.3 MVA-I | 70 | 50
|  | 6.3 MVA-II | 90 | 60
|  | 10 MVA-III | 95 | 70
| Carmona Sub Station | 6.3 MVA | 59 | 30
| Velim Sub Station | 6.3 MVA-I | 37 | 18
|  | 6.3 MVA-II | 17 | 7
| Canacona Sub Station | 01 X 6.3MVA | 71 | 65
|  | 01 X 6.3MVA | 72 | 67
| Poinguinim Sub Station | 01 X 6.3MVA | 64 | 58
| Cuncolim Sub Station | 6.3 MVA | 85 | 50
|  | 6.3 MVA | 85 | 50
|  | 10 MVA | 90 | 80-85
DIVISION-XVII,MAPUSA
| 33/11 KV Pernem S/s | 6.3 MVA | 75 | 40
| 33/11KV Pernem S/s | 6.3MVA | 95 | 57
| 33/11 KV Nachinola. S/s | 6.3/8 MVA | 68 | 48
| 33/11 KV Nachinola S/s | 6.3 MVA | 42 | 33
| 33/11 KV Anjuna.s/s | 10 MVA | 110.66 | 82.33
| 33/11 KV Tuem S/s | 6.3/8 MVA | 108 | 66.6
| 33/11 KV Tuem S/s | 6.3 MVA | 43.3 | 42.6